| No. | Entry Id | 1. Section: | - Subsection Below Section: | 2. Comment Recommends (check one): | 3. Current Text: | 4. Comment: | 5. Statement of Problem and Substantiation for Comment. | Disposition |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1035 | General Comment | General Comment | Revised text | The use of Supervising Station, Monitoring Station, & Central Station. Use Summary: Monitoring Station” = 3 Supervising Station” = 12 (Defined Term) Central Station” = 14 | Recommend using "Supervising Station" UL, NFPA, SIA (CP-01), & TMA (CS-V-01) all use them interchangeable. | These three terms are used to identify the location that is "monitoring" and "reporting" alarms from alarm systems. Using three different titles, for the same function/facility, can lead to confusion, for an audience of "non-alarm' industry readers. |  |
|  | 1037 | Alarm Validation Scoring (AVS) Standard Procedures | General Comment | Revised text | 1.2.3 Alarm Level(s) (0, 1, 2, 3, 4) Levels are a system designed to add some meaning to the supervising center’s Call for Service. They are a result of operator observations and/or a combination of observations and automation assistance. Defined as; Level 0: No Call for Service Level 1: A Call for Service with no other information. Level 2: A Call for Service, with proof of or a high probability of knowing person or persons are present at the alarm site. Level 3: A Call for Service, knowing person or persons are present at the alarm site and it appears there is a threat to property. Level 4: A Call for Service, knowing person or persons are present at the alarm site and it appears there is threat to life. | 1.2.3 Alarm Level(s) (0, 1, 2, 3, 4) Levels are a system designed to add some meaning to the supervising center’s Call for Service. They are a result of operator observations and/or a combination of observations and automation assistance. Defined as; Level 0: No Call for Service Level 1: A Call for Service with no other information. Level 2: A Call for Service, with proof of or a high probability of knowing person or a notified user confirms dispatch or persons are present at the alarm site. Level 3: A Call for Service, knowing person or persons are present at the alarm site and it appears there is a threat to property. Level 4: A Call for Service, knowing person or persons are present at the alarm site and it appears there is threat to life. | Statement of Problem; A user could have additional unique/personal information regarding risk that would substantiate a higher level of dispatch even though they are not on the site. Substantiation for Comment; New applications are being introduced by platform companies, Central Stations and alarm companies that give users added application features such as cancel or confirm alarm dispatch upon alarm activations (without a call from the Central Station). I.E. User may have knowledge of higher risk due to high crime rate in a particular neighborhood or have an active restraining order with threat to users, therefore would have the ability to confirm a dispatch through the application without physically being on the premise. |  |